Day 1 15/5/2017 ( Monday)

Module 1 – The Certified Environmental Professional in IETS operation

Summary

- Steps involved for an IETS operator / supervisor to be Certified  Competent

- Attend Training Course

- Course Assignments

- Comprehensive Assignments

- Field Training Report

- Interview by Director General

- Plan for participants to become certified as a CepIETSO

- Should be knowledgeable and have skills in broad area in IETS.

- Once certified as Certified Environmental Professional in IETS, his name will automatically  be registered in National Registry of Certified Environmental Professional ( NRCEP) .

- Maintain the registration of CePIETSO by minimum 50 CPD hours.

- Ethics of a Certified Professional in IETS operation

- Duties of CePIETSO

- Established Permanent  IETS performance monitoring committee  (PMC) within the organizational set-up of our industry.

- PMC meetings conducted on a scheduled basis.

Module 2 – Understanding the Legal Framework

Summary

- Section of Environmental Quality Act  1974 (EQA)

- Section 25

- Section 29

- Industrial sources which is subjected to Industrial Effluent Regulation 2009.

- Regulation in IER 2009

- Regulation 3- List of premises which do not apply this regulation.

- Crude palm oil

- Natural Rubber

Mining Activities

- Regulation 4- Written Notification to be done to DOE within 30p Days before any commencing work/ upgrading on the IETS operation

- Regulation 7- Discharge Monitoring perform by online submission ( MDMR)

- Regulation 9- Performance Monitoring

- Equip with relevant equipment or instrument for conducting performance monitoring.

- Regulation 10 – Must have sufficient Number of Competent person ( Number of hours of operation per day)

- Regulation 32-Noncompliance and Penalties

- IER 2009 maximum Penalty  RM 100, 000 / 5 Years Jail

- Maximum compound RM 2000.00.

Module 3 –Characteristics of Industrial Effluent

Summary

- Different characteristics of industrial Effluent containing Organic Substance and Inorganic Substance.

- Effect of Effluent discharges

- Discharge into watercourse will undergo Biodegradation by utilize the dissolve oxygen which reduce oxygen supply into water. Leads to Fish kills.

Module 4 –Overview of Industrial Effluent Treatment System ( IETS)

Summary

- Flow chat of Typical complete IETS to treat an industrial effluent

- Technologies for treating various contaminants commonly found in industrial effluent.

- Biological Treatment

- Air / Steam Stripping

- Carbon Adsorption

- Chemical Oxidation

- Sedimentation

- Floatation

- Filtration

- Membrane Process

- Classification of effluent treatment system

- Primary ( Preliminary, pre-treatments) – Physical/ Chemical Process

- Secondary( Biological Treatment)

- Tertiary ( Advanced Treatment)

Day 2 16/5/2017 Tuesday

Module 5 –Physical – Chemical Treatment Processes (The working concept)

Summary

- PREIMINARY/ PRETREATMENT

- Equalization – even out fluctuation in Flow, Pollutant and pH

- Clarification & Sedimentation

- pH Adjustment and Neutralization

- Coagulation & Flocculation – To increase the effectiveness of the separation f SS from Aqueous Phase

- Hydroxide Precipitation- Common method for removing Soluble Metal

- Sulfide Precipitation- Alternative to Hydroxide Precipitation

- Carbonate Precipitation

- Gravity Separation- For O&G removal ,based on droplet sizes of O&G

- Dissolved Air Floatation- To remove SS, Fats, and O&G

- Ion Exchage – Used to remove anionic species ( Cyanide/ Nitrates)

- Oxidation Reduction- Used for treatment of Chromium from Hexavalent to Trivalent.

- TERTIARY/ ADVANCED TREATMENT

- Carbon Adsorption-Used to remove residual dissolved organics

- Chemical oxidation- To oxidize contaminant in industrial effluent to Terminal end product, More biodegradable intermediate product/ More adsorption product.

- Advanced oxidation process- To oxidize recalcitrant organics and color found in effluent.

- Media filtration- To remove SS but not dissolved metal

- Membrane Filtration- To produce good quality effluent with low SS concentration.

- Evaporation- alternative process to remove heavy metal, hazardous materials.

Day 3 17/5/2017 Wednesday

Module 6 –Performance Monitoring of Common Physical-Chemical Treatment Process

Summary

1) Conducting performance monitoring of Physical chemical treatment process

- Proactive and preventive monitoring of all the major IETS components to ensure each component is working properly and optimally as designed.

Module 7 –Maintenance of PCP components and instrument

Summary

1) Importance of maintenance of PCP components and performance monitoring instruments.

- Malfunctioning/  breakdown f the IETS components resulting in noncompliant effluent discharge is NOT acceptable. If this happens, the factory manufacturing operation which generate  the effluent need to be temporarily shut down.

2) Maintain and calibrate Ph, ORP and conductivity meters, thermocouples and pressure gages.

Module 8 –Performance Monitoring Laboratory Session

Summary

1) Lab Session- perform below measurement to monitor the physical chemical process and maintain performance monitoring records to comply with requirements in Guidance Document on Performance Monitoring of Industrial Effluent Treatment System.

- Flowrate

- Chemical stock preparation

- Ph

- Oxidation reduction potential

- Jar test experiments

- Chemical oxygen demand

- Metal Concentration

Day 4 18/5/2017 ( Thursday)

Module 9 –PCP MATH

Summary

1) Calculation

- Flowrate

- Detention Time

- Discharge Rate

- Chemical preparation and dose

- Chemical feeder and pump setting

- Reagent requirement for neutralization and Ph adjustment

- Caustic requirement for metal hydroxide precipitation

Day 5 19/5/2017 ( Friday)

Module 10 – Data Analysis and Interpretation

Summary

1) Utilize the Statistical software commonly available on a personal computer to perform statistical analysis pf performance monitoring data obtained from the laboratory session.

2) Interpret  the performance monitoring data and compare them with recommended ranges.

Module 11 – Record Keeping, Reporting and Communication

Summary

1)  Performance monitoring data should be kept for minimum period of 3 years.

2) On day to day basis, a formal communication channel must be established where IETS issues are reported, to make sure immediate corrective actions can be taken or addressed.

Module 12 – Field Training report preparation

Summary

1)  Guideline for Field Training report preparation

2)  FTR to provide evidence that mainstreaming of environmental agenda has taken place at our industry.

Module 13 – The Driver for Environmental Excellence

Summary

1)  Environmental sense makes business sense

2) CePIETSO program mainstream Environmental agenda in industrial premises

FINAL- COMPREHENSIVE EXAM

Chemical Sludge

3PM – 6PM

100 MCQ QUESTION

SUBJECTIVE ASSIGNMENT SUBMITTED